## Convention
USE THE CHANGE LOG ON THE NEXT SHEET TO DOCUMENT CHANGES - BE EXPLICIT!
Attribute type | Category (just for Humans) | Attribute "Human" name | Attribute name (they can be shortened) in CamelCase | Description | Allowed Data entry | Example | Comments
Global | Location Identifiers | Latitude | Latitude |  | Decimal | 64.8436 | North is positive | Follow WGS84
|  | Longitude | Longitude |  | Decimal | -147.7231 | East is postive | Follow WGS84
|  | Airport Code | AirportCode |  | 3 letter string | FAI
|  | Place Name | PlaceName |  | String | Fairbanks
|  | Utility Name | UtilityName |  | String | ACEP
|  | Station Name | StationName |  | String | ETF
| Metering Device | Make | Make |  | String | Acromag
|  | Model | Model |  | String | IOS320
|  | Spec Sheet URL | SpecSheetURL |  | String | http://c1170156.r56.cf3.rackcdn.com/UK_ACR_IOS-320_DS.pdf
|  | Type of Measurement | TypeOfMeasurement |  | String | Voltage
|  | Accuracy | Accuracy |  | Decimal |  | Should be a measure of trueness and precision as per ISO5725. However, we will go with what we can get - %/unit deviaition from actual value is often what is provided for instruments
|  | Resolution | Resolution |  | Decimal |  | The minimal amount two different measurments can differ from each other. For much of the power data from SCADA this would be 1 kW for example, i.e., the next greater measurement from 499 kW would be 500 kW.
|  | Units | Units |  | String | Volts | Units of the direct measurement (e.g. voltage on a temperature sensor)
|  | Device Range Maximum | DeviceRangeMax |  | Decimal | 5
|  | Device Range Minimum | DeviceRangeMin |  | Decimal | -5
|  | Device Installation Date | DeviceInstallationDate | Follow ISO 8601 | String | 2014/05/01
Channel | Data Source | Type | Type |  | String | Voltage Source
|  | Type Description | TypeDescription |  | String | Voltage Signal Generator
|  | Make | Make |  | String | Simpson
|  | Model | Model |  | String | 420A
|  | Year | Year |  | Integer | 1995
|  | Date Installed | DateInstalled | Follow ISO 8601 | String | 2014/05/19
| Additional Static Metadata | URL of QA report | URLOfQAReport |  | String | https://somethi.ng/about/qareport
|  | URL of Data License | URLOfDataLicense |  | String | https://somethi.ng/about/data_license
|  | Data Provider | DataProvider |  | String | ACEP
|  | QA Provider | QAProvider |  | String | https://somethi.ng/about/qaprovider
|  | Copyright Holder | CopyrightHolder |  | String | ACEP
|  | URI | URI | This is a url to the server with the SHA-256 hash of the file name. | String | http://acep-server.uaf.edu/2836dfd2cb759fd35099867a9ae85502c64960760dbc96a6bbcdcab4ce377cff.nc | http://www.mathworks.com/matlabcentral/fileexchange/31272-datahash
| Channel | Time Stamps | time | Time stamps of the collected samples | Decimal | 14000000.000,14000000.001,14000000.002,... | Attribute name must be 'time' so it is compatible with the tma code developed by Phil
|  | Data | value | Values of the collected samples | Decimal | 0.724662,0.704662,0.684662,... | Attribute name must be 'value' so it is compatible with the tma code developed by Phil
|  | Sampling Rate | SamplingRate | samples per second | Decimal | 1000
|  | Scale | Scale |  | Decimal | 1 | Added Attribute
|  | Offset | Offset |  | Decimal | 0 | Added Attribute
|  | Units | Units |  | String | Volts
|  | Range Maximum | RangeMax | max | Decimal | 0.72466 | Relative to the entire dataset contained in the netCDF file
|  | Range Minimum | RangeMin | min | Decimal | 0.68466 | Relative to the entire dataset contained in the netCDF file
|  | Theoretical Maximum Range | TheoreticalRangeMax | Educated guess depending on what are we measuring, i.e., we expect our 320 kW Diesel Generator to consume something between [0.0025,0.03], refering to kg/sec as the unit | Decimal
|  | Theoretical Minimum Range | TheoreticalRangeMin | Educated guess depending on what are we measuring, i.e., we expect our 320 kW Diesel Generator to consume something between [0.0025,0.03], refering to kg/sec as the unit | Decimal
|  | Channel Name | ChannelName |  | Decimal | Gen1V
|  | Original Channel Name | OriginalChannelName | SCADA or other hardware channel name, i.e., A2 is for Acromag's Indicating slot 'A' channel '2'. | String | A1
|  | Original Units | OriginalUnits | Not necessarily the same as 'Units', we can be converting Gal(non SI) to L(SI) | String | Volts
| Daily Statistics | Daily Min | DailyMin | These fields should be populated after either the file is closed or when a new file is created | Decimal | 0.68466
|  | Daily Max | DailyMax |  | Decimal | 0.72466
|  | Daily Mean | DailyMean |  | Decimal | 0.7047
|  | Daily Std. Dev. | DailyStdDev |  | Decimal | 0.02
| Monthly Statistics | Monthly Min | MonthlyMin |  | Decimal | 0.68466
|  | Monthly Max | MonthlyMax |  | Decimal | 0.72466
|  | Monthly Mean | MonthlyMean |  | Decimal | 0.7047
|  | Monthly Std. Dev. | MonthlyStdDev |  | Decimal | 0.02
| Data Snippet | Start Time | StartTime | These fields should be populated after either the file is closed or when a new file is created | Decimal | 14000000
|  | Length | Length |  | Integer | 3

## Change Log
Version | Date | Name | Comment
1.01 | 2014-05-21 | Marc Mueller-Stoffels | Minor edits and fixes
1.02 | 2014-05-22 | Luis Miranda | Corrected Dates to ISO 8601, corrected the CamelCase, the allowed Data entry now follow the same pattern
1.03 | 2014-05-23 | Luis Miranda | Altered the Sampling Rate allowed Data entry to decimals, this way, it is possible to sample at less then 1 sample per second, i.e., 1 sample every minute/hour/...
1.04 | 2014-05-23 | Luis Miranda | Changed checksum to SHA-256, following Phil's suggestion. I think it might be better to fully implement this on the database after the more critical stuff is working smoothly
1.05 | 2014-06-27 | Luis Miranda | Divided the previous range fields into 2 seperate fields, range max and range min - It will be less error prone
1.06 | 2014-06-27 | Luis Miranda | Altered the name of field 'Range', so as to avoid problems with SQL; Also divided the theoritical range into 2 fields